## Slide 1: Rotation Sensing with Lasers
Jon-Paul Wells, Ulrich Schreiber (and many others)
Department of Physics & Astronomy

## Slide 2: Bi-Directional Ring Lasers
Sensitivity to (for example) Earth
rotation, described by the
instantaneous angular velocity
vector , is given by the Sagnac
frequency, which can be observed
as the frequency difference
between two counter rotating
laser beams:
with
A area enclosed by the laser beam
n normal vector of A
P perimeter
 optical wavelength

## Slide 3
Bi-Directional Ring Lasers
C-II
UG-1
UG-2
G
GEO Sensor
Six orders of magnitude increase in sensitivity in 25 years

## Slide 4
Different Concept: All Solid State Sensors
Replace the gain medium for a high gain, condensed phase alternative.
We have used phosphate glass doped with (optically active) lanthanide ions.

## Slide 5
Different Concept: The Hitch…
In a static, solid state material the counter propagating travelling waves induce a gain grating.
From this both beams can strongly interact, leading to intensity oscillation or even uni-directional lasing

## Slide 6
Contrast with Helium-Neon
Base State
Energy
23S
21S
He
Ne
3s
2s
1s
3p
2p
Collision
Collision
Non-radiative
transition
Discharge tube
collision
Pumping by electron collision
632.8 nm
621.0 nm
594.1 nm
543.3 nm

## Slide 7
Free Space Ring.
Phosphate glass: Er/Yb
Laser wavelength 1.53 micron
Lasing threshold 50 mW.

## Slide 8
Earlier Work used YAG:Nd

## Slide 9
Comparison: YAG vs Phosphate Glass

## Slide 10
Return to the Helium-Neon system
Base State
Energy
23S
21S
He
Ne
3s
2s
1s
3p
2p
Collision
Collision
Non-radiative
transition
Discharge tube
collision
Pumping by electron collision
632.8 nm
621.0 nm
594.1 nm
543.3 nm

## Slide 11
Infrared Operation of a He-Ne Gyroscope
Crystalline coating mirrors (AlGaAs)
Gain medium is a 50:50 mix of 20Ne and 22Ne
  4He added to quench the 2s4→2p7 transition
cavity Q of 3.2×1010

## Slide 12
Infrared Operation of a He-Ne Gyroscope

## Slide 13
Infrared Operation of a He-Ne Gyroscope
First 1.15 micron gyroscope to unlock on the bias provided by Earth rotation alone.
In a comprised environment, it seems to out perform operation at 633 nm.

## Slide 14
Why Not Go Further? Go Green… its trendy
Why use the 632.8 nm transition at all?
Operation at 543.3 nm gives an automatic 17% increase in scale factor, 10% reduction in optical footprint.
The cavity Q increases by 17% as
543.5 nm Green 3s2->2p10 0.52
632.8 nm Red 3s2->2p4 10.0
3,391.3 nm Mid-IR 3s2->3p4 440.0

## Slide 15
Portable Sensors: Solid state gyros can run on less than a watt, but need development. However there is a road map.
Big Rings: Ring laser gyroscopes have improved in overall usable sensitivity by around six orders of magnitude in 25 years.
So what is left in the toolbox?
I suggest we are close to the limits of what operation at 632.8 nm can do for us…
Conclusions

## Slide 16
Dr Robert Hurst
Dr Nishanthan Rabeendran
Ms Caroline Anyi
Mr Robert Thirkettle
Dr Andre Gebauer
Mr Marinus Meyerbacher
Thanks to the ‘many others’