## Slide 1: 10 components of waveform at Pinon Flat Observatory (PFO), California
LMU (Ludwig-Maximilians-University Munich, Germany)
Chin-Jen Lin, Joachim Wassermann, André Gebauer,
Stefanie Donner, Celine Hadziioannou, Heiner Igel
TUM (Technical University Munich, Germany)
Ulrich Schreiber
SCRIPPS (Institution of Oceanography, La Jolla, CA)
Frank Vernon, Duncan Carr Agnew

## Slide 2: Instruments at PFO
Array-derivation vs. direct observation
(Teleseismic) Joint analysis of translation and rotation/strain
(Microseismic) Joint analysis vs. F-K methods
  Back-azimuth
Thirteen broadband seismic stations (c)
+
Vertical ring-laser rotation sensor (d)
+
Three surface laser strainmeters (e)

## Slide 3: Array spatial calculation
courtesy of Heiner Igel
Rotation vector (3 components)
Strain Tensor (4 components)
Suffer to the condition of zero traction at the free-surface …
[Spudich et al., 1995]
All observable components on the surface are 10
assuming plane wave propagation

## Slide 4: Array-derived rotation/strain
Smaller array are prone to error. why?
results
discrepancies

## Slide 5: Limitation of array-derivation
…as small as possible…
… cannot be too close…
keep uniform strain
prevent unreliable result due to measurement uncertainty
→
P. Spudich (1995)
aperture
wavelength
aperture
wavelength
measurement uncertainty

## Slide 6: Measurement uncertainty
+1 % uncertainty
Small array aperture
e=0.01
c=3000 m/s
4 co-located STS-2 seismometers
Z
Y
X

## Slide 7: 10 components of waveform (f = 0.014 – 0.318 Hz)
acceleration
Strain are matched better than vertical rotation. why ?
PFO
Eq.
rotation
strain
radial
transverse
vertical

## Slide 8: Assuming plane wave propagation …
 | Rotation | Strain | 
Love wave | (Igel et al., 2005) | (2) (Gomberg & Agnew, 1996) | 
Rayleigh wave | (3) (Lin et al., 2011) | (4) (Gomberg & Agnew, 1996) | (5) (Blum et al., 2010)
 | Rotation | Strain | 
Love wave |  |  | 
Rayleigh wave |  |  | 
Heiner Igel, Ulrich Schreiber, et.al. (2005)
Transverse acceleration
Vertical rotation

## Slide 9: Teleseismic event
L. | 
 | (2)
R. | (3)
 | (4)
 | (5)
L. | 
R. | 
Assuming plane wave propagation …
Vertical rotation
horizontal rotation
Xcorr.
Phase velocity

## Slide 10: Background noise
Seismometers are installed at depth of 2-3 m
E
Z
N
seismic station at PFO
PFO
seismograms

## Slide 11: Background noise
rotation
strain
Array-derived rotation
Array-derived strain
GEOSensor
(1.6*1.6 m2)
LSM
(732 m)
PFO

## Slide 12: Microseismic signal (f=0.1~0.3 Hz)
240o
~ L. wave ()
~ R. wave ()
~ R. wave (F-K)
240o
240o
orientation
PFO
Courtesy of C. Juretzek

## Slide 13: Conclusions
Array-derived rotation vs. point measurement
    The result is slightly different due to effect of measurement scale
Assuming plane wave propagation
  Translations can be scaled to the rotation/strain
  Derived apparent velocities, from rotation and strain, are consistent.
Microseismic signal
  Back-azimuth of the source determined by three methods are consistent.

## Slide 14: Acknowledgement
lack of movie
Ulrich Schreiber
André Gebauer
Joachim Wassermann