## Gravity
Gravity Station | Date | Time |  | Duration | Latitude |  |  | Longitude |  |  | Lat | Long | Ellipsoidal Height (m) | LaCoste-Romberg Meter |  |  | Worden Meter Constant: |  | Scintrex Meter | Raw Observed Gravity (mGals) | Tide (mGals) | Tide Corrected (mGals) | Meter Drift (mGals) | Drift & Tide Corrected (mGals) | DC Shift (mGals) | Theoretical Gravity (mGals) | Height Correction (mGals) | Atm Effect (mGals) | Bouguer Spherical Cap (mGals) | Terrain Correction (mGals) | Observed Absolute Gravity (mGals) | Complete Bouguer Anomaly (mGals)
|  | Hours | Minutes | Hours | d | m | s | d | m | s | DD | DD |  | Counter | Calibrated (mGals) | Measured (mGals) | Counter (Dial Reading) | Calibrated (mGals) | Drift & Tide Corrected (mGals)
|  |  |  | 0 | DD: 0; DD: 0 |  |  | #N/A |  |  | 0 |  | #N/A |  | #N/A | #N/A | #N/A | #N/A | 978032.6771 | 0 | 0.88 | #N/A |  | #N/A | #N/A
Note on Q2: Derek Holom: LCD reading for digital L & R meters.
Note on S1: Derek Holom: Enter meter-specific constant in this cell.

## Bullard B Table
Bullard B Table
Height (m) | mGals
0 | 0
100 | 0.143
200 | 0.279
300 | 0.407
400 | 0.529
500 | 0.644
600 | 0.751
700 | 0.852
800 | 0.945
900 | 1.032
1000 | 1.111
1100 | 1.183
1200 | 1.248
1300 | 1.307
1400 | 1.358
1500 | 1.402
1600 | 1.439
1700 | 1.469
1800 | 1.491
1900 | 1.507
2000 | 1.516
2100 | 1.518
2200 | 1.512
2300 | 1.5
2400 | 1.481
2500 | 1.454
2600 | 1.42
2700 | 1.38
2800 | 1.332
2900 | 1.278
3000 | 1.216
3100 | 1.147
3200 | 1.071
3300 | 0.988
3400 | 0.898
3500 | 0.801
3600 | 0.697
3700 | 0.586
3800 | 0.468
3900 | 0.343
4000 | 0.211
4100 | 0.072
4200 | -0.074
4300 | -0.228
4400 | -0.388
4500 | -0.555
4600 | -0.729
4700 | -0.911
4800 | -1.099
4900 | -1.295
5000 | -1.497
5100 | -1.707
5200 | -1.923
5300 | -2.147
5400 | -2.377
5500 | -2.615
5600 | -2.859
5700 | -3.111
5800 | -3.37
5900 | -3.635
6000 | -3.908
6100 | -4.188
6200 | -4.475
6300 | -4.768

## Calib. Table
Calibration Table
Counter | Cumulative | Factor Interval
0 | 0 | 1.0576
100 | 105.76 | 1.0576
200 | 211.52 | 1.0575
300 | 317.28 | 1.0575
400 | 423.02 | 1.0547
500 | 528.77 | 1.0574
600 | 634.5 | 1.0573
700 | 740.24 | 1.0573
800 | 845.97 | 1.0573
900 | 951.69 | 1.0573
1000 | 1057.42 | 1.0573
1100 | 1163.15 | 1.0573
1200 | 1268.88 | 1.0574
1300 | 1374.62 | 1.0574
1400 | 1480.36 | 1.0574
1500 | 1586.1 | 1.0575
1600 | 1691.85 | 1.0576
1700 | 1797.61 | 1.0577
1800 | 1903.37 | 1.0578
1900 | 2009.15 | 1.0579
2000 | 2114.94 | 1.058
2100 | 2220.74 | 1.0581
2200 | 2326.56 | 1.0583
2300 | 2432.39 | 1.0584
2400 | 2538.23 | 1.0585
2500 | 2644.08 | 1.0586
2600 | 2749.94 | 1.0587
2700 | 2855.81 | 1.0588
2800 | 2961.69 | 1.059
2900 | 3067.59 | 1.0591
3000 | 3173.49 | 1.0592
3100 | 3279.41 | 1.0593
3200 | 3385.34 | 1.0594
3300 | 3491.28 | 1.0595
3400 | 3597.24 | 1.0597
3500 | 3703.2 | 1.0598
3600 | 3809.16 | 1.0599
3700 | 3915.18 | 1.06
3800 | 4021.18 | 1.0601
3900 | 4127.19 | 1.0602
4000 | 4233.21 | 1.0603
4100 | 4339.24 | 1.0604
4200 | 4445.45 | 1.0605
4300 | 4551.33 | 1.0606
4400 | 4657.39 | 1.0606
4500 | 4763.45 | 1.0607
4600 | 4869.52 | 1.0607
4700 | 4975.59 | 1.0608
4800 | 5081.67 | 1.0608
4900 | 5187.74 | 1.0608
5000 | 5293.82 | 1.0608
5100 | 5399.89 | 1.0608
5200 | 5505.97 | 1.0607
5300 | 5612.04 | 1.0607
5400 | 5718.11 | 1.0606
5500 | 5824.17 | 1.0605
5600 | 5930.22 | 1.0604
5700 | 6036.27 | 1.0603
5800 | 6142.3 | 1.0602
5900 | 6248.32 | 1.06
6000 | 6354.32 | 1.0599
6100 | 6460.31 | 1.0597
6200 | 6566.29 | 105958
6300 | 6672.24 | 1.0594
6400 | 6884.11 | 1.0593
6500 | 6990.01 | 1.0591
6600 | 7095.9 | 1.0589
6700 | 7201.77 | 1.0587
6800 | 7307.62 | 1.0585
6900 | 7307.62 | 1.0583
7000 | 7413.75
Enter values from the calibration table provided with your LaCoste-Romberg gravimeter.

## Absolute Base
Absolute Base Station Information
Station Name*
Latitude
Longitude*
Ellipsoidal elevation (m)*
Absolute Gravity (mgals)
Gravity Meter Readings
Date*
Time*
Counter1
Converted1 | #N/A
Measured gravity (mGals)1,2,3
Tide1,2
DC Shift1,2,3
Drift1,2
Final Reading | #N/A
Notes
* Optional information
1 Required for LaCoste-Romberg gravimeter data
2 Required for Worden gravimeter data
3 Required for Scintrex gravimeter data

## Meters
# | Gravity meters | Selected meter #: | 1
1 | LaCoste & Romberg
2 | Worden
3 | Scintrex