## Gravity
Gravity Station | Date | Time |  | Duration | Latitude |  |  | Longitude |  |  | Lat | Long | Ellipsoidal Height (m) | LaCoste-Romberg Meter |  |  | Worden Meter Constant: | 1 | Scintrex Meter | Raw Observed Gravity (mGals) | Tide (mGals) | Tide Corrected (mGals) | Meter Drift (mGals) | Drift & Tide Corrected (mGals) | DC Shift (mGals) | Theoretical Gravity (mGals) | Height Correction (mGals) | Atm Effect (mGals) | Bouguer Spherical Cap (mGals) | Terrain Correction (mGals) | Observed Absolute Gravity (mGals) | Complete Bouguer Anomaly (mGals)
|  | Hours | Minutes | Hours | d | m | s | d | m | s | DD | DD |  | Counter | Calibrated (mGals) | Measured (mGals) | Counter (Dial Reading) | Calibrated (mGals) | Drift & Tide Corrected (mGals)
Base Station 1 | 2004-09-12 | 7 | 11 | 0 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 |  |  |  | 4122.387 | 4122.387 |  | 4122.387 | 0.0005 | 4122.3875 | 0 | 4122.3875 | 0 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9157 | -112.5733
Example 001 | 2004-09-12 | 10 | 11 | 3 | 46 | 51 | 31.1687 | 117 | 4 | 49.4353 | 46.8587 | -117.0804 | 773.188 |  |  |  | 4112.273 | 4112.273 |  | 4112.273 | -0.084 | 4112.189 | 0.062486 | 4112.2515 | 0 | 980788.0563 | -238.5124 | 0.8 | 87.4761 | 0.415 | 980519.7797 | -116.0253
Example 002 | 2004-09-12 | 10 | 26 | 3.25 | 46 | 51 | 31.2339 | 117 | 5 | 3.6306 | 46.8587 | -117.0843 | 768.623 |  |  |  | 4112.863 | 4112.863 |  | 4112.863 | -0.086 | 4112.777 | 0.067693 | 4112.8447 | 0 | 980788.058 | -237.1045 | 0.81 | 86.9608 | 0.577 | 980520.3729 | -116.1544
Example 003 | 2004-09-12 | 10 | 39 | 3.4667 | 46 | 51 | 31.173 | 117 | 5 | 17.8007 | 46.8587 | -117.0883 | 783.867 |  |  |  | 4108.974 | 4108.974 |  | 4108.974 | -0.088 | 4108.886 | 0.072206 | 4108.9582 | 0 | 980788.0564 | -241.8061 | 0.8 | 88.6815 | 0.127 | 980516.4864 | -117.5185
Example 004 | 2004-09-12 | 10 | 50 | 3.65 | 46 | 51 | 31.0263 | 117 | 5 | 32.0254 | 46.8586 | -117.0922 | 762.067 |  |  |  | 4113.635 | 4113.635 |  | 4113.635 | -0.088 | 4113.547 | 0.076024 | 4113.623 | 0 | 980788.0528 | -235.0824 | 0.81 | 86.2208 | 0.465 | 980521.1512 | -116.7649
Example 005 | 2004-09-12 | 11 | 32 | 4.35 | 46 | 51 | 30.5193 | 117 | 5 | 46.149 | 46.8585 | -117.0962 | 762.098 |  |  |  | 4113.211 | 4113.211 |  | 4113.211 | -0.083 | 4113.128 | 0.090604 | 4113.2186 | 0 | 980788.04 | -235.092 | 0.81 | 86.2243 | 0.397 | 980520.7468 | -117.2185
Example 006 | 2004-09-12 | 11 | 44 | 4.55 | 46 | 51 | 30.5465 | 117 | 6 | 0.33344 | 46.8585 | -117.1001 | 753.697 |  |  |  | 4115.167 | 4115.167 |  | 4115.167 | -0.08 | 4115.087 | 0.09477 | 4115.1818 | 0 | 980788.0407 | -232.5009 | 0.81 | 85.276 | 0.323 | 980522.71 | -116.9729
Example 007 | 2004-09-12 | 11 | 55 | 4.7333 | 46 | 51 | 30.9956 | 117 | 6 | 14.4797 | 46.8586 | -117.104 | 748.341 |  |  |  | 4116.34 | 4116.34 |  | 4116.34 | -0.077 | 4116.263 | 0.098589 | 4116.3616 | 0 | 980788.052 | -230.849 | 0.81 | 84.6714 | 0.417 | 980523.8898 | -116.7577
Example 008 | 2004-09-12 | 12 | 9 | 4.9667 | 46 | 51 | 31.2636 | 117 | 6 | 28.6336 | 46.8587 | -117.108 | 745.108 |  |  |  | 4117.29 | 4117.29 |  | 4117.29 | -0.072 | 4117.218 | 0.10345 | 4117.3214 | 0 | 980788.0587 | -229.8518 | 0.81 | 84.3065 | 0.489 | 980524.8496 | -116.3648
Example 009 | 2004-09-12 | 12 | 19 | 5.1333 | 46 | 51 | 31.3785 | 117 | 6 | 42.8201 | 46.8587 | -117.1119 | 742.76 |  |  |  | 4117.946 | 4117.946 |  | 4117.946 | -0.068 | 4117.878 | 0.10692 | 4117.9849 | 0 | 980788.0616 | -229.1276 | 0.81 | 84.0415 | 0.679 | 980525.5131 | -115.9733
Example 010 | 2004-09-12 | 12 | 32 | 5.35 | 46 | 51 | 31.2764 | 117 | 6 | 56.9912 | 46.8587 | -117.1158 | 741.678 |  |  |  | 4118.426 | 4118.426 |  | 4118.426 | -0.062 | 4118.364 | 0.11143 | 4118.4754 | 0 | 980788.059 | -228.7939 | 0.81 | 83.9193 | 1.148 | 980526.0036 | -115.2228
Example 011 | 2004-09-12 | 12 | 54 | 5.7167 | 46 | 51 | 31.4931 | 117 | 7 | 11.1674 | 46.8587 | -117.1198 | 750.76 |  |  |  | 4116.993 | 4116.993 |  | 4116.993 | -0.051 | 4116.942 | 0.11907 | 4117.0611 | 0 | 980788.0645 | -231.595 | 0.81 | 84.9445 | 0.579 | 980524.5893 | -115.4357
Base Station 2 | 2004-09-12 | 13 | 1 | 5.8333 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 |  |  |  | 4122.312 | 4122.312 |  | 4122.312 | -0.046 | 4122.266 | 0.1215 | 4122.3875 | 0 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9157 | -112.5733
Example 012 | 2004-09-12 | 13 | 5 | 5.9 | 46 | 51 | 31.2674 | 117 | 7 | 25.3375 | 46.8587 | -117.1237 | 736.77 |  |  |  | 4120.38 | 4120.38 |  | 4120.38 | -0.044 | 4120.336 | -0.0018616 | 4120.4556 | 0 | 980788.0588 | -227.2801 | 0.81 | 83.3653 | 1.45 | 980527.9838 | -113.9002
Example 013 | 2004-09-12 | 13 | 17 | 6.1 | 46 | 51 | 30.9983 | 117 | 7 | 39.5038 | 46.8586 | -117.1276 | 733.73 |  |  |  | 4121.549 | 4121.549 |  | 4121.549 | -0.037 | 4121.512 | -0.0074465 | 4121.6261 | 0 | 980788.0521 | -226.3425 | 0.81 | 83.0222 | 1.32 | 980529.1543 | -113.4475
Example 014 | 2004-09-12 | 14 | 34 | 7.3833 | 46 | 51 | 31.5982 | 117 | 7 | 53.6569 | 46.8588 | -117.1316 | 733.029 |  |  |  | 4122.3 | 4122.3 |  | 4122.3 | 0.013 | 4122.313 | -0.043283 | 4122.3912 | 0 | 980788.0671 | -226.1263 | 0.81 | 82.9431 | 0.979 | 980529.9194 | -113.1755
Example 015 | 2004-09-12 | 14 | 53 | 7.7 | 46 | 51 | 53.2463 | 117 | 4 | 32.2155 | 46.8648 | -117.0756 | 824.661 |  |  |  | 4104.738 | 4104.738 |  | 4104.738 | 0.025 | 4104.763 | -0.052126 | 4104.8324 | 0 | 980788.6104 | -254.3877 | 0.8 | 93.2847 | 0.647 | 980512.3606 | -113.6999
Example 016 | 2004-09-12 | 15 | 15 | 8.0667 | 46 | 51 | 54.3135 | 117 | 4 | 46.2871 | 46.8651 | -117.0795 | 775.663 |  |  |  | 4113.576 | 4113.576 |  | 4113.576 | 0.039 | 4113.615 | -0.062365 | 4113.6741 | 0 | 980788.6372 | -239.2757 | 0.8 | 87.7555 | 0.351 | 980521.2023 | -114.7636
Example 017 | 2004-09-12 | 15 | 23 | 8.2 | 46 | 51 | 56.6788 | 117 | 5 | 0.035 | 46.8657 | -117.0833 | 770.799 |  |  |  | 4113.002 | 4113.002 |  | 4113.002 | 0.043 | 4113.045 | -0.066088 | 4113.1004 | 0 | 980788.6965 | -237.7755 | 0.8 | 87.2064 | 0.25 | 980520.6286 | -116.4488
Example 018 | 2004-09-12 | 15 | 33 | 8.3667 | 46 | 51 | 56.8507 | 117 | 5 | 14.2145 | 46.8658 | -117.0873 | 756.784 |  |  |  | 4116.736 | 4116.736 |  | 4116.736 | 0.049 | 4116.785 | -0.070742 | 4116.8358 | 0 | 980788.7009 | -233.453 | 0.81 | 85.6245 | 0.456 | 980524.364 | -115.2424
Base Station 3 | 2004-09-12 | 15 | 40 | 8.4833 | DD: 46.859; DD: -117.1324 | 736.334 |  |  |  | 4122.288 | 4122.288 |  | 4122.288 | 0.052 | 4122.34 | -0.074 | 4122.3875 | 0 | 980788.0872 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9157 | -112.573
Example 019 | 2004-09-12 | 15 | 50 | 8.65 | 46 | 51 | 56.7005 | 117 | 5 | 28.3794 | 46.8658 | -117.0912 | 750.58 |  |  |  | 4117.56 | 4117.56 |  | 4117.56 | 0.058 | 4117.618 | -0.0004908 | 4117.665 | 0 | 980788.6971 | -231.5395 | 0.81 | 84.9242 | 0.846 | 980525.1932 | -115.2326
Example 020 | 2004-09-12 | 15 | 59 | 8.8 | 46 | 51 | 57.3338 | 117 | 5 | 42.5075 | 46.8659 | -117.0951 | 755.644 |  |  |  | 4116.826 | 4116.826 |  | 4116.826 | 0.062 | 4116.888 | -0.00093252 | 4116.9346 | 0 | 980788.713 | -233.1014 | 0.81 | 85.4958 | 1.29 | 980524.4628 | -114.5446
Example 021 | 2004-09-12 | 16 | 10 | 8.9833 | 46 | 51 | 57.4996 | 117 | 5 | 56.6968 | 46.866 | -117.0991 | 779.511 |  |  |  | 4111.689 | 4111.689 |  | 4111.689 | 0.067 | 4111.756 | -0.0014724 | 4111.802 | 0 | 980788.7171 | -240.4625 | 0.8 | 88.1898 | 0.786 | 980519.3302 | -115.5282
Example 022 | 2004-09-12 | 16 | 22 | 9.1833 | 46 | 51 | 57.5174 | 117 | 6 | 10.8761 | 46.866 | -117.103 | 776.964 |  |  |  | 4111.933 | 4111.933 |  | 4111.933 | 0.072 | 4112.005 | -0.0020613 | 4112.0504 | 0 | 980788.7176 | -239.677 | 0.8 | 87.9023 | 0.377 | 980519.5786 | -116.1873
Example 023 | 2004-09-12 | 16 | 51 | 9.6667 | 46 | 51 | 57.3768 | 117 | 6 | 24.9883 | 46.8659 | -117.1069 | 767.841 |  |  |  | 4113.576 | 4113.576 |  | 4113.576 | 0.081 | 4113.657 | -0.0034847 | 4113.701 | 0 | 980788.7141 | -236.8632 | 0.81 | 86.8725 | 0.334 | 980521.2292 | -116.3502
Example 024 | 2004-09-12 | 17 | 2 | 9.85 | 46 | 51 | 57.4928 | 117 | 6 | 39.1932 | 46.866 | -117.1109 | 758.836 |  |  |  | 4115.908 | 4115.908 |  | 4115.908 | 0.083 | 4115.991 | -0.0040245 | 4116.0345 | 0 | 980788.717 | -234.0859 | 0.81 | 85.8561 | 0.468 | 980523.5627 | -115.6465
Example 025 | 2004-09-12 | 17 | 15 | 10.0667 | 46 | 51 | 57.4659 | 117 | 6 | 53.3606 | 46.866 | -117.1148 | 761.129 |  |  |  | 4115.961 | 4115.961 |  | 4115.961 | 0.086 | 4116.047 | -0.0046626 | 4116.0898 | 0 | 980788.7163 | -234.7931 | 0.81 | 86.1149 | 0.982 | 980523.618 | -114.6281
Example 026 | 2004-09-12 | 17 | 28 | 10.2833 | 46 | 51 | 57.5844 | 117 | 7 | 7.5341 | 46.866 | -117.1188 | 767.655 |  |  |  | 4114.821 | 4114.821 |  | 4114.821 | 0.087 | 4114.908 | -0.0053006 | 4114.9502 | 0 | 980788.7193 | -236.8059 | 0.81 | 86.8516 | 0.586 | 980522.4784 | -114.8906
Example 027 | 2004-09-12 | 17 | 40 | 10.4833 | 46 | 51 | 57.5632 | 117 | 7 | 21.7048 | 46.866 | -117.1227 | 761.911 |  |  |  | 4116.841 | 4116.841 |  | 4116.841 | 0.088 | 4116.929 | -0.0058896 | 4116.9706 | 0 | 980788.7187 | -235.0343 | 0.81 | 86.2032 | 0.454 | 980524.4988 | -114.1249
Example 028 | 2004-09-12 | 17 | 46 | 10.5833 | 46 | 51 | 57.5028 | 117 | 7 | 35.8926 | 46.866 | -117.1266 | 739.817 |  |  |  | 4122.384 | 4122.384 |  | 4122.384 | 0.088 | 4122.472 | -0.006184 | 4122.5133 | 0 | 980788.7172 | -228.2199 | 0.81 | 83.7093 | 1.182 | 980530.0415 | -112.1731
Example 029 | 2004-09-12 | 18 | 0 | 10.8167 | 46 | 51 | 57.564 | 117 | 7 | 50.0836 | 46.866 | -117.1306 | 774.9 |  |  |  | 4115.831 | 4115.831 |  | 4115.831 | 0.088 | 4115.919 | -0.0068712 | 4115.9596 | 0 | 980788.7188 | -239.0404 | 0.8 | 87.6693 | 2.002 | 980523.4878 | -111.0579
Example 030 | 2004-09-12 | 18 | 9 | 10.9667 | 46 | 51 | 57.3297 | 117 | 8 | 4.2447 | 46.8659 | -117.1345 | 804.734 |  |  |  | 4110.167 | 4110.167 |  | 4110.167 | 0.088 | 4110.255 | -0.0073129 | 4110.2952 | 0 | 980788.7129 | -248.2418 | 0.8 | 91.0366 | 2.662 | 980517.8234 | -110.2223
Base Station 4 | 2004-09-12 | 18 | 23 | 11.2 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 |  |  |  | 4122.262 | 4122.262 |  | 4122.262 | 0.086 | 4122.348 | -0.008 | 4122.3875 | 0 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9157 | -112.5733
`
Note on Q2: Derek Holom: LCD reading for digital L & R meters.
Note on S1: Derek Holom: Enter meter-specific constant in this cell.

## Bullard B Table
Bullard B Table
Height (m) | mGals
0 | 0
100 | 0.143
200 | 0.279
300 | 0.407
400 | 0.529
500 | 0.644
600 | 0.751
700 | 0.852
800 | 0.945
900 | 1.032
1000 | 1.111
1100 | 1.183
1200 | 1.248
1300 | 1.307
1400 | 1.358
1500 | 1.402
1600 | 1.439
1700 | 1.469
1800 | 1.491
1900 | 1.507
2000 | 1.516
2100 | 1.518
2200 | 1.512
2300 | 1.5
2400 | 1.481
2500 | 1.454
2600 | 1.42
2700 | 1.38
2800 | 1.332
2900 | 1.278
3000 | 1.216
3100 | 1.147
3200 | 1.071
3300 | 0.988
3400 | 0.898
3500 | 0.801
3600 | 0.697
3700 | 0.586
3800 | 0.468
3900 | 0.343
4000 | 0.211
4100 | 0.072
4200 | -0.074
4300 | -0.228
4400 | -0.388
4500 | -0.555
4600 | -0.729
4700 | -0.911
4800 | -1.099
4900 | -1.295
5000 | -1.497
5100 | -1.707
5200 | -1.923
5300 | -2.147
5400 | -2.377
5500 | -2.615
5600 | -2.859
5700 | -3.111
5800 | -3.37
5900 | -3.635
6000 | -3.908
6100 | -4.188
6200 | -4.475
6300 | -4.768

## Calib. Table
Calibration Table
Counter | Cumulative | Factor Interval
0 | 0 | 1.0227
100 | 102.27 | 1.0227
200 | 204.54 | 1.0226
300 | 306.8 | 1.0225
400 | 409.05 | 1.0225
500 | 511.3 | 1.0225
600 | 613.55 | 1.0225
700 | 715.8 | 1.0225
800 | 818.04 | 1.0225
900 | 920.29 | 1.0225
1000 | 1022.53 | 1.0225
1100 | 1124.78 | 1.0225
1200 | 1227.04 | 1.0226
1300 | 1329.29 | 1.0226
1400 | 1431.56 | 1.0227
1500 | 1533.82 | 1.0227
1600 | 1636.1 | 1.0228
1700 | 1738.38 | 1.0229
1800 | 1840.66 | 1.023
1900 | 1942.96 | 1.0231
2000 | 2045.26 | 1.0231
2100 | 2147.58 | 1.0232
2200 | 2249.9 | 1.0233
2300 | 2352.24 | 1.0234
2400 | 2454.58 | 1.0235
2500 | 2556.93 | 1.0237
2600 | 2659.3 | 1.0238
2700 | 2761.68 | 1.0239
2800 | 2864.07 | 1.024
2900 | 2966.47 | 1.0241
3000 | 3068.88 | 1.0242
3100 | 3171.3 | 1.0244
3200 | 3273.74 | 1.0245
3300 | 3376.19 | 1.0246
3400 | 3478.64 | 1.0247
3500 | 3581.12 | 1.0248
3600 | 3683.6 | 1.0249
3700 | 3786.09 | 1.0251
3800 | 3888.6 | 1.0252
3900 | 3991.11 | 1.0253
4000 | 4093.64 | 1.0254
4100 | 4196.18 | 1.0255
4200 | 4298.72 | 1.0256
4300 | 4401.28 | 1.0256
4400 | 4503.84 | 1.0257
4500 | 4606.42 | 1.0258
4600 | 4709 | 1.0259
4700 | 4811.58 | 1.0259
4800 | 4914.18 | 1.026
4900 | 5016.78 | 1.026
5000 | 5119.38 | 1.0261
5100 | 5221.98 | 1.0261
5200 | 5324.59 | 1.0261
5300 | 5427.21 | 1.0261
5400 | 5529.82 | 1.0261
5500 | 5632.43 | 1.0261
5600 | 5735.04 | 1.0261
5700 | 5837.65 | 1.026
5800 | 5940.25 | 1.026
5900 | 6042.85 | 1.0259
6000 | 6145.44 | 1.0258
6100 | 6248.03 | 1.0257
6200 | 6350.6 | 1.0256
6300 | 6453.17 | 1.0255
6400 | 6555.72 | 1.0254
6500 | 6658.26 | 1.0252
6600 | 6760.78 | 1.0251
6700 | 6863.29 | 1.0249
6800 | 6965.77 | 1.0247
6900 | 7068.24 | 1.0244
7000 | 7170.68

## Absolute Base
Absolute Base Station Information
Station Name* | Example
Latitude | 46.8833
Longitude* | -117.3667
Ellipsoidal elevation (m)* | 579.62
Absolute Gravity (mgals) | 980565.46
Gravity Meter Readings
Date* | 2006-01-21
Time* | 17:09
Counter1
Converted1
Measured gravity (mGals)1,2,3 | 4163.7058
Tide1,2 | 0.098
DC Shift1,2,3 | -5.89
Drift1,2 | 0.018
Final Reading | 4157.9318
Notes
* Optional information
1 Required for LaCoste-Romberg gravimeter data
2 Required for Worden gravimeter data
3 Required for Scintrex gravimeter data

## Meters
# | Gravity meters | Selected meter #: | 2
1 | LaCoste & Romberg
2 | Worden
3 | Scintrex