## Gravity
Gravity Station | Date | Time |  | Duration | Latitude |  |  | Longitude |  |  | Lat | Long | Ellipsoidal Height (m) | LaCoste-Romberg Meter |  |  | Worden Meter Constant: |  | Scintrex Meter | Raw Observed Gravity (mGals) | Tide (mGals) | Tide Corrected (mGals) | Meter Drift (mGals) | Drift & Tide Corrected (mGals) | DC Shift (mGals) | Theoretical Gravity (mGals) | Height Correction (mGals) | Atm Effect (mGals) | Bouguer Spherical Cap (mGals) | Terrain Correction (mGals) | Observed Absolute Gravity (mGals) | Complete Bouguer Anomaly (mGals)
|  | Hours | Minutes | Hours | d | m | s | d | m | s | DD | DD |  | Counter | Calibrated (mGals) | Measured (mGals) | Counter (Dial Reading) | Calibrated (mGals) | Drift & Tide Corrected (mGals)
|  |  |  | 0 | DD: 0; DD: 0 |  |  | #N/A |  |  | 0 |  | #N/A |  | #N/A | #N/A | #N/A | #N/A | 978032.6771 | 0 | 0.88 | 0 |  | #N/A | #N/A
Note on S1: Derek Holom: Enter meter-specific constant in this cell.
Note on Q2: Derek Holom: LCD reading for digital L & R meters.

## Bullard B Table
Bullard B Table
Height (m) | mGals
0 | 0
100 | 0.143
200 | 0.279
300 | 0.407
400 | 0.529
500 | 0.644
600 | 0.751
700 | 0.852
800 | 0.945
900 | 1.032
1000 | 1.111
1100 | 1.183
1200 | 1.248
1300 | 1.307
1400 | 1.358
1500 | 1.402
1600 | 1.439
1700 | 1.469
1800 | 1.491
1900 | 1.507
2000 | 1.516
2100 | 1.518
2200 | 1.512
2300 | 1.5
2400 | 1.481
2500 | 1.454
2600 | 1.42
2700 | 1.38
2800 | 1.332
2900 | 1.278
3000 | 1.216
3100 | 1.147
3200 | 1.071
3300 | 0.988
3400 | 0.898
3500 | 0.801
3600 | 0.697
3700 | 0.586
3800 | 0.468
3900 | 0.343
4000 | 0.211
4100 | 0.072
4200 | -0.074
4300 | -0.228
4400 | -0.388
4500 | -0.555
4600 | -0.729
4700 | -0.911
4800 | -1.099
4900 | -1.295
5000 | -1.497
5100 | -1.707
5200 | -1.923
5300 | -2.147
5400 | -2.377
5500 | -2.615
5600 | -2.859
5700 | -3.111
5800 | -3.37
5900 | -3.635
6000 | -3.908
6100 | -4.188
6200 | -4.475
6300 | -4.768

## Calib. Table
Calibration Table
Counter | Cumulative | Factor Interval
Enter values from the calibration table provided with your LaCoste-Romberg gravimeter.

## Absolute Base
Absolute Base Station Information
Station Name*
Latitude
Longitude*
Ellipsoidal elevation (m)*
Absolute Gravity (mgals)
Gravity Meter Readings
Date*
Time*
Counter1
Converted1 | #N/A
Measured gravity (mGals)1,2,3
Tide1,2
DC Shift1,2,3
Drift1,2
Final Reading | #N/A
Notes
* Optional information
1 Required for LaCoste-Romberg gravimeter data
2 Required for Worden gravimeter data
3 Required for Scintrex gravimeter data

## Meters
# | Gravity meters | Selected meter #: | 1
1 | LaCoste & Romberg
2 | Worden
3 | Scintrex