## Gravity
Gravity Station | Date | Time |  | Duration | Latitude |  |  | Longitude |  |  | Lat | Long | Ellipsoidal Height (m) | LaCoste-Romberg Meter |  |  | Worden Meter Constant: | 0 | Scintrex Meter | Raw Observed Gravity (mGals) | Tide (mGals) | Tide Corrected (mGals) | Meter Drift (mGals) | Drift & Tide Corrected (mGals) | DC Shift (mGals) | Theoretical Gravity (mGals) | Height Correction (mGals) | Atm Effect (mGals) | Bouguer Spherical Cap (mGals) | Terrain Correction (mGals) | Observed Absolute Gravity (mGals) | Complete Bouguer Anomaly (mGals)
|  | Hours | Minutes | Hours | d | m | s | d | m | s | DD | DD |  | Counter | Calibrated (mGals) | Measured (mGals) | Counter (Dial Reading) | Calibrated (mGals) | Drift & Tide Corrected (mGals)
BASE01 | 2004-09-12 | 7 | 11 | 0 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 | [5 empty] | 4122.3882 | 4122.3882 |  |  |  | 4122.3882 | 0 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9164 | -112.5726
Example 001 | 2004-09-12 | 10 | 11 | 3 | 46 | 51 | 31.1687 | 117 | 4 | 49.4353 | 46.8587 | -117.0804 | 773.188 | [5 empty] | 4112.2003 | 4112.2003 |  |  |  | 4112.2003 | 0 | 980788.0563 | -238.5124 | 0.8 | 87.4761 | 0.415 | 980519.7285 | -116.0765
Example 002 | 2004-09-12 | 10 | 26 | 3.25 | 46 | 51 | 31.2339 | 117 | 5 | 3.6306 | 46.8587 | -117.0843 | 768.623 | [5 empty] | 4112.7892 | 4112.7892 |  |  |  | 4112.7892 | 0 | 980788.058 | -237.1045 | 0.81 | 86.9608 | 0.577 | 980520.3174 | -116.21
Example 003 | 2004-09-12 | 10 | 39 | 3.4667 | 46 | 51 | 31.173 | 117 | 5 | 17.8007 | 46.8587 | -117.0883 | 783.867 | [5 empty] | 4108.8989 | 4108.8989 |  |  |  | 4108.8989 | 0 | 980788.0564 | -241.8061 | 0.8 | 88.6815 | 0.127 | 980516.4271 | -117.5778
Example 004 | 2004-09-12 | 10 | 50 | 3.65 | 46 | 51 | 31.0263 | 117 | 5 | 32.0254 | 46.8586 | -117.0922 | 762.067 | [5 empty] | 4113.5606 | 4113.5606 |  |  |  | 4113.5606 | 0 | 980788.0528 | -235.0824 | 0.81 | 86.2208 | 0.465 | 980521.0888 | -116.8273
Example 005 | 2004-09-12 | 11 | 32 | 4.35 | 46 | 51 | 30.5193 | 117 | 5 | 46.149 | 46.8585 | -117.0962 | 762.098 | [5 empty] | 4113.1441 | 4113.1441 |  |  |  | 4113.1441 | 0 | 980788.04 | -235.092 | 0.81 | 86.2243 | 0.397 | 980520.6723 | -117.2931
Example 006 | 2004-09-12 | 11 | 44 | 4.55 | 46 | 51 | 30.5465 | 117 | 6 | 0.33344 | 46.8585 | -117.1001 | 753.697 | [5 empty] | 4115.1038 | 4115.1038 |  |  |  | 4115.1038 | 0 | 980788.0407 | -232.5009 | 0.81 | 85.276 | 0.323 | 980522.632 | -117.0509
Example 007 | 2004-09-12 | 11 | 55 | 4.7333 | 46 | 51 | 30.9956 | 117 | 6 | 14.4797 | 46.8586 | -117.104 | 748.341 | [5 empty] | 4116.2804 | 4116.2804 |  |  |  | 4116.2804 | 0 | 980788.052 | -230.849 | 0.81 | 84.6714 | 0.417 | 980523.8086 | -116.8389
Example 008 | 2004-09-12 | 12 | 9 | 4.9667 | 46 | 51 | 31.2636 | 117 | 6 | 28.6336 | 46.8587 | -117.108 | 745.108 | [5 empty] | 4117.2362 | 4117.2362 |  |  |  | 4117.2362 | 0 | 980788.0587 | -229.8518 | 0.81 | 84.3065 | 0.489 | 980524.7644 | -116.45
Example 009 | 2004-09-12 | 12 | 19 | 5.1333 | 46 | 51 | 31.3785 | 117 | 6 | 42.8201 | 46.8587 | -117.1119 | 742.76 | [5 empty] | 4117.8968 | 4117.8968 |  |  |  | 4117.8968 | 0 | 980788.0616 | -229.1276 | 0.81 | 84.0415 | 0.679 | 980525.425 | -116.0614
Example 010 | 2004-09-12 | 12 | 32 | 5.35 | 46 | 51 | 31.2764 | 117 | 6 | 56.9912 | 46.8587 | -117.1158 | 741.678 | [5 empty] | 4118.3836 | 4118.3836 |  |  |  | 4118.3836 | 0 | 980788.059 | -228.7939 | 0.81 | 83.9193 | 1.148 | 980525.9118 | -115.3147
Example 011 | 2004-09-12 | 12 | 54 | 5.7167 | 46 | 51 | 31.4931 | 117 | 7 | 11.1674 | 46.8587 | -117.1198 | 750.76 | [5 empty] | 4116.9629 | 4116.9629 |  |  |  | 4116.9629 | 0 | 980788.0645 | -231.595 | 0.81 | 84.9445 | 0.579 | 980524.4911 | -115.5338
Example 012 | 2004-09-12 | 13 | 5 | 5.9 | 46 | 51 | 31.2674 | 117 | 7 | 25.3375 | 46.8587 | -117.1237 | 736.77 | [5 empty] | 4120.3575 | 4120.3575 |  |  |  | 4120.3575 | 0 | 980788.0588 | -227.2801 | 0.81 | 83.3653 | 1.45 | 980527.8857 | -113.9983
Example 013 | 2004-09-12 | 13 | 17 | 6.1 | 46 | 51 | 30.9983 | 117 | 7 | 39.5038 | 46.8586 | -117.1276 | 733.73 | [5 empty] | 4121.5342 | 4121.5342 |  |  |  | 4121.5342 | 0 | 980788.0521 | -226.3425 | 0.81 | 83.0222 | 1.32 | 980529.0624 | -113.5393
Example 014 | 2004-09-12 | 14 | 34 | 7.3833 | 46 | 51 | 31.5982 | 117 | 7 | 53.6569 | 46.8588 | -117.1316 | 733.029 | [5 empty] | 4122.3398 | 4122.3398 |  |  |  | 4122.3398 | 0 | 980788.0671 | -226.1263 | 0.81 | 82.9431 | 0.979 | 980529.868 | -113.2269
Example 015 | 2004-09-12 | 14 | 53 | 7.7 | 46 | 51 | 53.2463 | 117 | 4 | 32.2155 | 46.8648 | -117.0756 | 824.661 | [5 empty] | 4104.7909 | 4104.7909 |  |  |  | 4104.7909 | 0 | 980788.6104 | -254.3877 | 0.8 | 93.2847 | 0.647 | 980512.3191 | -113.7414
Example 016 | 2004-09-12 | 15 | 15 | 8.0667 | 46 | 51 | 54.3135 | 117 | 4 | 46.2871 | 46.8651 | -117.0795 | 775.663 | [5 empty] | 4113.6442 | 4113.6442 |  |  |  | 4113.6442 | 0 | 980788.6372 | -239.2757 | 0.8 | 87.7555 | 0.351 | 980521.1724 | -114.7936
Example 017 | 2004-09-12 | 15 | 23 | 8.2 | 46 | 51 | 56.6788 | 117 | 5 | 0.035 | 46.8657 | -117.0833 | 770.799 | [5 empty] | 4113.0746 | 4113.0746 |  |  |  | 4113.0746 | 0 | 980788.6965 | -237.7755 | 0.8 | 87.2064 | 0.25 | 980520.6028 | -116.4746
Example 018 | 2004-09-12 | 15 | 33 | 8.3667 | 46 | 51 | 56.8507 | 117 | 5 | 14.2145 | 46.8658 | -117.0873 | 756.784 | [5 empty] | 4116.8152 | 4116.8152 |  |  |  | 4116.8152 | 0 | 980788.7009 | -233.453 | 0.81 | 85.6245 | 0.456 | 980524.3434 | -115.2629
Example 019 | 2004-09-12 | 15 | 50 | 8.65 | 46 | 51 | 56.7005 | 117 | 5 | 28.3794 | 46.8658 | -117.0912 | 750.58 | [5 empty] | 4117.6542 | 4117.6542 |  |  |  | 4117.6542 | 0 | 980788.6971 | -231.5395 | 0.81 | 84.9242 | 0.846 | 980525.1824 | -115.2433
Example 020 | 2004-09-12 | 15 | 59 | 8.8 | 46 | 51 | 57.3338 | 117 | 5 | 42.5075 | 46.8659 | -117.0951 | 755.644 | [5 empty] | 4116.9198 | 4116.9198 |  |  |  | 4116.9198 | 0 | 980788.713 | -233.1014 | 0.81 | 85.4958 | 1.29 | 980524.448 | -114.5595
Example 021 | 2004-09-12 | 16 | 10 | 8.9833 | 46 | 51 | 57.4996 | 117 | 5 | 56.6968 | 46.866 | -117.0991 | 779.511 | [5 empty] | 4111.7884 | 4111.7884 |  |  |  | 4111.7884 | 0 | 980788.7171 | -240.4625 | 0.8 | 88.1898 | 0.786 | 980519.3166 | -115.5418
Example 022 | 2004-09-12 | 16 | 22 | 9.1833 | 46 | 51 | 57.5174 | 117 | 6 | 10.8761 | 46.866 | -117.103 | 776.964 | [5 empty] | 4112.0381 | 4112.0381 |  |  |  | 4112.0381 | 0 | 980788.7176 | -239.677 | 0.8 | 87.9023 | 0.377 | 980519.5663 | -116.1996
Example 023 | 2004-09-12 | 16 | 51 | 9.6667 | 46 | 51 | 57.3768 | 117 | 6 | 24.9883 | 46.8659 | -117.1069 | 767.841 | [5 empty] | 4113.7918 | 4113.7918 |  |  |  | 4113.7918 | 0 | 980788.7141 | -236.8632 | 0.81 | 86.8725 | 0.334 | 980521.32 | -116.2594
Example 024 | 2004-09-12 | 17 | 2 | 9.85 | 46 | 51 | 57.4928 | 117 | 6 | 39.1932 | 46.866 | -117.1109 | 758.836 | [5 empty] | 4116.0265 | 4116.0265 |  |  |  | 4116.0265 | 0 | 980788.717 | -234.0859 | 0.81 | 85.8561 | 0.468 | 980523.5547 | -115.6546
Example 025 | 2004-09-12 | 17 | 15 | 10.0667 | 46 | 51 | 57.4659 | 117 | 6 | 53.3606 | 46.866 | -117.1148 | 761.129 | [5 empty] | 4116.0832 | 4116.0832 |  |  |  | 4116.0832 | 0 | 980788.7163 | -234.7931 | 0.81 | 86.1149 | 0.982 | 980523.6114 | -114.6347
Example 026 | 2004-09-12 | 17 | 28 | 10.2833 | 46 | 51 | 57.5844 | 117 | 7 | 7.5341 | 46.866 | -117.1188 | 767.655 | [5 empty] | 4114.945 | 4114.945 |  |  |  | 4114.945 | 0 | 980788.7193 | -236.8059 | 0.81 | 86.8516 | 0.586 | 980522.4732 | -114.8958
Example 027 | 2004-09-12 | 17 | 40 | 10.4833 | 46 | 51 | 57.5632 | 117 | 7 | 21.7048 | 46.866 | -117.1227 | 761.911 | [5 empty] | 4116.9667 | 4116.9667 |  |  |  | 4116.9667 | 0 | 980788.7187 | -235.0343 | 0.81 | 86.2032 | 0.454 | 980524.4949 | -114.1288
Example 028 | 2004-09-12 | 17 | 46 | 10.5833 | 46 | 51 | 57.5028 | 117 | 7 | 35.8926 | 46.866 | -117.1266 | 739.817 | [5 empty] | 4122.51 | 4122.51 |  |  |  | 4122.51 | 0 | 980788.7172 | -228.2199 | 0.81 | 83.7093 | 1.182 | 980530.0382 | -112.1764
Example 029 | 2004-09-12 | 18 | 0 | 10.8167 | 46 | 51 | 57.564 | 117 | 7 | 50.0836 | 46.866 | -117.1306 | 774.9 | [5 empty] | 4115.9579 | 4115.9579 |  |  |  | 4115.9579 | 0 | 980788.7188 | -239.0404 | 0.8 | 87.6693 | 2.002 | 980523.4861 | -111.0597
Example 030 | 2004-09-12 | 18 | 9 | 10.9667 | 46 | 51 | 57.3297 | 117 | 8 | 4.2447 | 46.8659 | -117.1345 | 804.734 | [5 empty] | 4110.2944 | 4110.2944 |  |  |  | 4110.2944 | 0 | 980788.7129 | -248.2418 | 0.8 | 91.0366 | 2.662 | 980517.8226 | -110.2231
BASE02 | 2004-09-12 | 18 | 23 | 11.2 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 | [5 empty] | 4122.3882 | 4122.3882 |  |  |  | 4122.3882 | 0 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9164 | -112.5726
BASE03 | 2004-09-19 | 9 | 10 | 0 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 | [5 empty] | 4121.9564 | 4121.9564 |  |  |  | 4121.9564 | 0.43181 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9164 | -112.5726
Example 031 | 2004-09-19 | 9 | 39 | 0.48333 | 46 | 52 | 31.6587 | 117 | 3 | 25.2051 | 46.8755 | -117.057 | 819.737 | [5 empty] | 4106.8386 | 4106.8386 |  |  |  | 4106.8386 | 0.43181 | 980789.5744 | -252.8689 | 0.8 | 92.7292 | 0.754 | 980514.7986 | -113.0821
Example 032 | 2004-09-19 | 9 | 50 | 0.66667 | 46 | 52 | 24.2365 | 117 | 3 | 28.6428 | 46.8734 | -117.058 | 797.474 | [5 empty] | 4109.925 | 4109.925 |  |  |  | 4109.925 | 0.43181 | 980789.3881 | -246.0026 | 0.8 | 90.2174 | 1.005 | 980517.885 | -113.9129
Example 033 | 2004-09-19 | 10 | 2 | 0.86667 | 46 | 52 | 23.5996 | 117 | 3 | 42.7799 | 46.8732 | -117.0619 | 764.427 | [5 empty] | 4117.4052 | 4117.4052 |  |  |  | 4117.4052 | 0.43181 | 980789.3721 | -235.8102 | 0.81 | 86.4872 | 0.895 | 980525.3652 | -112.9789
Example 034 | 2004-09-19 | 10 | 16 | 1.1 | 46 | 52 | 23.8615 | 117 | 3 | 56.9741 | 46.8733 | -117.0658 | 763.098 | [5 empty] | 4116.8579 | 4116.8579 |  |  |  | 4116.8579 | 0.43181 | 980789.3787 | -235.4003 | 0.81 | 86.3372 | 0.688 | 980524.8179 | -113.9996
Example 035 | 2004-09-19 | 10 | 29 | 1.3167 | 46 | 52 | 23.8968 | 117 | 4 | 11.1591 | 46.8733 | -117.0698 | 761.229 | [5 empty] | 4118.1899 | 4118.1899 |  |  |  | 4118.1899 | 0.43181 | 980789.3796 | -234.8239 | 0.81 | 86.1262 | 0.672 | 980526.1499 | -113.0501
Example 036 | 2004-09-19 | 10 | 37 | 1.45 | 46 | 52 | 24.7315 | 117 | 4 | 25.296 | 46.8735 | -117.0737 | 759.222 | [5 empty] | 4118.953 | 4118.953 |  |  |  | 4118.953 | 0.43181 | 980789.4006 | -234.2049 | 0.81 | 85.8997 | 0.799 | 980526.913 | -112.5734
Example 037 | 2004-09-19 | 10 | 47 | 1.6167 | 46 | 52 | 23.5433 | 117 | 4 | 39.3492 | 46.8732 | -117.0776 | 759.913 | [5 empty] | 4118.9316 | 4118.9316 |  |  |  | 4118.9316 | 0.43181 | 980789.3707 | -234.418 | 0.81 | 85.9777 | 1.008 | 980526.8916 | -112.2208
Example 038 | 2004-09-19 | 11 | 0 | 1.8333 | 46 | 52 | 23.6598 | 117 | 4 | 53.4995 | 46.8732 | -117.0815 | 775.023 | [5 empty] | 4115.1066 | 4115.1066 |  |  |  | 4115.1066 | 0.43181 | 980789.3737 | -239.0783 | 0.8 | 87.6832 | 0.904 | 980523.0666 | -113.208
Example 039 | 2004-09-19 | 11 | 12 | 2.0333 | 46 | 52 | 23.7097 | 117 | 5 | 7.6763 | 46.8733 | -117.0855 | 767.842 | [5 empty] | 4116.4058 | 4116.4058 |  |  |  | 4116.4058 | 0.43181 | 980789.3749 | -236.8635 | 0.81 | 86.8727 | 0.816 | 980524.3658 | -113.3923
Example 040 | 2004-09-19 | 11 | 23 | 2.2167 | 46 | 52 | 23.3482 | 117 | 5 | 21.8491 | 46.8732 | -117.0894 | 770.483 | [5 empty] | 4115.6402 | 4115.6402 |  |  |  | 4115.6402 | 0.43181 | 980789.3658 | -237.678 | 0.8 | 87.1708 | 0.326 | 980523.6002 | -114.1324
Example 041 | 2004-09-19 | 11 | 35 | 2.4167 | 46 | 52 | 23.8073 | 117 | 5 | 36.0074 | 46.8733 | -117.0933 | 764.414 | [5 empty] | 4116.2224 | 4116.2224 |  |  |  | 4116.2224 | 0.43181 | 980789.3774 | -235.8062 | 0.81 | 86.4857 | 0.705 | 980524.1824 | -114.3595
Example 042 | 2004-09-19 | 11 | 45 | 2.5833 | 46 | 52 | 23.697 | 117 | 5 | 50.1671 | 46.8732 | -117.0973 | 778.01 | [5 empty] | 4112.563 | 4112.563 |  |  |  | 4112.563 | 0.43181 | 980789.3746 | -239.9995 | 0.8 | 88.0204 | 0.285 | 980520.523 | -115.7874
Example 043 | 2004-09-19 | 11 | 56 | 2.7667 | 46 | 52 | 23.6098 | 117 | 6 | 4.3134 | 46.8732 | -117.1012 | 783.684 | [5 empty] | 4111.2374 | 4111.2374 |  |  |  | 4111.2374 | 0.43181 | 980789.3724 | -241.7495 | 0.8 | 88.6609 | 0.54 | 980519.1974 | -115.7463
Example 044 | 2004-09-19 | 12 | 8 | 2.9667 | 46 | 52 | 23.6728 | 117 | 6 | 18.4829 | 46.8732 | -117.1051 | 774.233 | [5 empty] | 4113.4826 | 4113.4826 |  |  |  | 4113.4826 | 0.43181 | 980789.374 | -238.8346 | 0.8 | 87.5941 | 0.364 | 980521.4426 | -115.5268
Example 045 | 2004-09-19 | 12 | 20 | 3.1667 | 46 | 52 | 23.8302 | 117 | 6 | 32.648 | 46.8733 | -117.1091 | 756.981 | [5 empty] | 4117.7278 | 4117.7278 |  |  |  | 4117.7278 | 0.43181 | 980789.3779 | -233.5137 | 0.81 | 85.6467 | 0.97 | 980525.6878 | -114.0431
Example 046 | 2004-09-19 | 12 | 31 | 3.35 | 46 | 52 | 23.9652 | 117 | 6 | 46.8173 | 46.8733 | -117.113 | 771.203 | [5 empty] | 4114.8742 | 4114.8742 |  |  |  | 4114.8742 | 0.43181 | 980789.3813 | -237.9001 | 0.8 | 87.252 | 0.55 | 980522.8342 | -114.549
Example 047 | 2004-09-19 | 12 | 42 | 3.5333 | 46 | 52 | 24.1867 | 117 | 7 | 0.96743 | 46.8734 | -117.1169 | 762.215 | [5 empty] | 4117.2506 | 4117.2506 |  |  |  | 4117.2506 | 0.43181 | 980789.3869 | -235.128 | 0.81 | 86.2375 | 0.772 | 980525.2107 | -113.7037
Example 048 | 2004-09-19 | 12 | 54 | 3.7333 | 46 | 52 | 25.287 | 117 | 7 | 15.0579 | 46.8737 | -117.1208 | 755.504 | [5 empty] | 4119.2478 | 4119.2478 |  |  |  | 4119.2478 | 0.43181 | 980789.4145 | -233.0581 | 0.81 | 85.48 | 0.819 | 980527.2078 | -112.9995
Example 049 | 2004-09-19 | 13 | 6 | 3.9333 | 46 | 52 | 27.3907 | 117 | 7 | 28.9224 | 46.8743 | -117.1247 | 743.861 | [5 empty] | 4122.106 | 4122.106 |  |  |  | 4122.106 | 0.43181 | 980789.4673 | -229.4671 | 0.81 | 84.1658 | 0.695 | 980530.066 | -112.5949
Example 050 | 2004-09-19 | 13 | 24 | 4.2333 | 46 | 52 | 23.6766 | 117 | 5 | 30.0519 | 46.8732 | -117.0917 | 758.964 | [5 empty] | 4117.6598 | 4117.6598 |  |  |  | 4117.6598 | 0.43181 | 980789.3741 | -234.1253 | 0.81 | 85.8705 | 0.97 | 980525.6198 | -113.7195
Example 051 | 2004-09-19 | 13 | 37 | 4.45 | 46 | 52 | 5.2877 | 117 | 5 | 29.4135 | 46.8681 | -117.0915 | 752.777 | [5 empty] | 4117.1877 | 4117.1877 |  |  |  | 4117.1877 | 0.43181 | 980788.9126 | -232.2171 | 0.81 | 85.1722 | 1.198 | 980525.1477 | -114.7119
Example 052 | 2004-09-19 | 13 | 52 | 4.7 | 46 | 51 | 31.2762 | 117 | 6 | 20.8418 | 46.8587 | -117.1058 | 748.43 | [5 empty] | 4116.5722 | 4116.5722 |  |  |  | 4116.5722 | 0.43181 | 980788.059 | -230.8764 | 0.81 | 84.6815 | 0.384 | 980524.5322 | -116.1379
BASE04 | 2004-09-19 | 14 | 38 | 5.4667 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 | [5 empty] | 4121.9564 | 4121.9564 |  |  |  | 4121.9564 | 0.43181 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9164 | -112.5726
BASE05 | 2004-10-16 | 11 | 58 | 0 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 | [5 empty] | 4121.473 | 4121.473 |  |  |  | 4121.473 | 0.91518 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9164 | -112.5726
Example 053 | 2004-10-16 | 12 | 23 | 0.41667 | 46 | 51 | 31.693 | 117 | 6 | 22.2841 | 46.8588 | -117.1062 | 746.606 | [5 empty] | 4116.4468 | 4116.4468 |  |  |  | 4116.4468 | 0.91518 | 980788.0695 | -230.3138 | 0.81 | 84.4756 | 0.448 | 980524.8902 | -116.0831
Example 054 | 2004-10-16 | 12 | 39 | 0.68333 | 46 | 51 | 35.3796 | 117 | 6 | 14.5159 | 46.8598 | -117.104 | 747.348 | [5 empty] | 4116.1645 | 4116.1645 |  |  |  | 4116.1645 | 0.91518 | 980788.162 | -230.5427 | 0.81 | 84.5594 | 0.51 | 980524.6079 | -116.2508
Example 055 | 2004-10-16 | 12 | 49 | 0.85 | 46 | 51 | 39.2278 | 117 | 6 | 6.8803 | 46.8609 | -117.1019 | 747.887 | [5 empty] | 4116.7076 | 4116.7076 |  |  |  | 4116.7076 | 0.91518 | 980788.2586 | -230.7089 | 0.81 | 84.6202 | 0.771 | 980525.151 | -115.4378
Example 056 | 2004-10-16 | 13 | 3 | 1.0833 | 46 | 51 | 43.0751 | 117 | 5 | 59.2892 | 46.862 | -117.0998 | 748.551 | [5 empty] | 4116.6522 | 4116.6522 |  |  |  | 4116.6522 | 0.91518 | 980788.3551 | -230.9137 | 0.81 | 84.6952 | 1.154 | 980525.0956 | -115.077
Example 057 | 2004-10-16 | 13 | 15 | 1.2833 | 46 | 51 | 46.7068 | 117 | 5 | 51.4574 | 46.863 | -117.0976 | 750.212 | [5 empty] | 4116.5725 | 4116.5725 |  |  |  | 4116.5725 | 0.91518 | 980788.4463 | -231.426 | 0.81 | 84.8826 | 1.27 | 980525.0159 | -114.807
Example 058 | 2004-10-16 | 13 | 29 | 1.5167 | 46 | 51 | 50.7321 | 117 | 5 | 44.0983 | 46.8641 | -117.0956 | 751.832 | [5 empty] | 4116.41 | 4116.41 |  |  |  | 4116.41 | 0.91518 | 980788.5473 | -231.9257 | 0.81 | 85.0655 | 1.096 | 980524.8534 | -114.9277
Example 059 | 2004-10-16 | 13 | 39 | 1.6833 | 46 | 51 | 55.9021 | 117 | 5 | 38.3079 | 46.8655 | -117.094 | 750.896 | [5 empty] | 4116.7711 | 4116.7711 |  |  |  | 4116.7711 | 0.91518 | 980788.6771 | -231.637 | 0.81 | 84.9598 | 1.216 | 980525.2145 | -114.7594
Example 060 | 2004-10-16 | 13 | 53 | 1.9167 | 46 | 52 | 4.6309 | 117 | 5 | 32.1251 | 46.868 | -117.0923 | 753.98 | [5 empty] | 4116.6037 | 4116.6037 |  |  |  | 4116.6037 | 0.91518 | 980788.8961 | -232.5881 | 0.81 | 85.308 | 1.338 | 980525.047 | -114.4209
Example 061 | 2004-10-16 | 14 | 10 | 2.2 | 46 | 52 | 13.4118 | 117 | 5 | 26.7377 | 46.8704 | -117.0908 | 755.597 | [5 empty] | 4117.5195 | 4117.5195 |  |  |  | 4117.5195 | 0.91518 | 980789.1165 | -233.0868 | 0.81 | 85.4905 | 0.88 | 980525.9629 | -113.8672
Example 062 | 2004-10-16 | 14 | 29 | 2.5167 | 46 | 52 | 23.6558 | 117 | 5 | 30.0211 | 46.8732 | -117.0917 | 758.892 | [5 empty] | 4117.3996 | 4117.3996 |  |  |  | 4117.3996 | 0.91518 | 980789.3736 | -234.1031 | 0.81 | 85.8624 | 0.971 | 980525.843 | -113.5089
BASE06 | 2004-10-16 | 14 | 51 | 2.8833 | 46 | 51 | 32.4116 | 117 | 7 | 56.6809 | 46.859 | -117.1324 | 736.334 | [5 empty] | 4121.473 | 4121.473 |  |  |  | 4121.473 | 0.91518 | 980788.0875 | -227.1457 | 0.81 | 83.3161 | 0.959 | 980529.9164 | -112.5726
Note on Q2: Derek Holom: LCD reading for digital L & R meters.
Note on S1: Derek Holom: Enter meter-specific constant in this cell.

## Bullard B Table
Bullard B Table
Height (m) | mgals
0 | 0
100 | 0.143
200 | 0.279
300 | 0.407
400 | 0.529
500 | 0.644
600 | 0.751
700 | 0.852
800 | 0.945
900 | 1.032
1000 | 1.111
1100 | 1.183
1200 | 1.248
1300 | 1.307
1400 | 1.358
1500 | 1.402
1600 | 1.439
1700 | 1.469
1800 | 1.491
1900 | 1.507
2000 | 1.516
2100 | 1.518
2200 | 1.512
2300 | 1.5
2400 | 1.481
2500 | 1.454
2600 | 1.42
2700 | 1.38
2800 | 1.332
2900 | 1.278
3000 | 1.216
3100 | 1.147
3200 | 1.071
3300 | 0.988
3400 | 0.898
3500 | 0.801
3600 | 0.697
3700 | 0.586
3800 | 0.468
3900 | 0.343
4000 | 0.211
4100 | 0.072
4200 | -0.074
4300 | -0.228
4400 | -0.388
4500 | -0.555
4600 | -0.729
4700 | -0.911
4800 | -1.099
4900 | -1.295
5000 | -1.497
5100 | -1.707
5200 | -1.923
5300 | -2.147
5400 | -2.377
5500 | -2.615
5600 | -2.859
5700 | -3.111
5800 | -3.37
5900 | -3.635
6000 | -3.908
6100 | -4.188
6200 | -4.475
6300 | -4.768

## Calib. Table
Calibration Table
Counter | Cumulative | Factor Interval
0 | 0 | 1.0227
100 | 102.27 | 1.0227
200 | 204.54 | 1.0226
300 | 306.8 | 1.0225
400 | 409.05 | 1.0225
500 | 511.3 | 1.0225
600 | 613.55 | 1.0225
700 | 715.8 | 1.0225
800 | 818.04 | 1.0225
900 | 920.29 | 1.0225
1000 | 1022.53 | 1.0225
1100 | 1124.78 | 1.0225
1200 | 1227.04 | 1.0226
1300 | 1329.29 | 1.0226
1400 | 1431.56 | 1.0227
1500 | 1533.82 | 1.0227
1600 | 1636.1 | 1.0228
1700 | 1738.38 | 1.0229
1800 | 1840.66 | 1.023
1900 | 1942.96 | 1.0231
2000 | 2045.26 | 1.0231
2100 | 2147.58 | 1.0232
2200 | 2249.9 | 1.0233
2300 | 2352.24 | 1.0234
2400 | 2454.58 | 1.0235
2500 | 2556.93 | 1.0237
2600 | 2659.3 | 1.0238
2700 | 2761.68 | 1.0239
2800 | 2864.07 | 1.024
2900 | 2966.47 | 1.0241
3000 | 3068.88 | 1.0242
3100 | 3171.3 | 1.0244
3200 | 3273.74 | 1.0245
3300 | 3376.19 | 1.0246
3400 | 3478.64 | 1.0247
3500 | 3581.12 | 1.0248
3600 | 3683.6 | 1.0249
3700 | 3786.09 | 1.0251
3800 | 3888.6 | 1.0252
3900 | 3991.11 | 1.0253
4000 | 4093.64 | 1.0254
4100 | 4196.18 | 1.0255
4200 | 4298.72 | 1.0256
4300 | 4401.28 | 1.0256
4400 | 4503.84 | 1.0257
4500 | 4606.42 | 1.0258
4600 | 4709 | 1.0259
4700 | 4811.58 | 1.0259
4800 | 4914.18 | 1.026
4900 | 5016.78 | 1.026
5000 | 5119.38 | 1.0261
5100 | 5221.98 | 1.0261
5200 | 5324.59 | 1.0261
5300 | 5427.21 | 1.0261
5400 | 5529.82 | 1.0261
5500 | 5632.43 | 1.0261
5600 | 5735.04 | 1.0261
5700 | 5837.65 | 1.026
5800 | 5940.25 | 1.026
5900 | 6042.85 | 1.0259
6000 | 6145.44 | 1.0258
6100 | 6248.03 | 1.0257
6200 | 6350.6 | 1.0256
6300 | 6453.17 | 1.0255
6400 | 6555.72 | 1.0254
6500 | 6658.26 | 1.0252
6600 | 6760.78 | 1.0251
6700 | 6863.29 | 1.0249
6800 | 6965.77 | 1.0247
6900 | 7068.24 | 1.0244
7000 | 7170.68

## Absolute Base
Absolute Base Station Information
Station Name* | Example
Latitude | 46.8833
Longitude* | -117.3667
Ellipsoidal elevation (m)* | 579.62
Absolute Gravity (mgals) | 980565.46
Gravity Meter Readings
Date* | 2006-01-21
Time* | 17:09
Counter1
Converted1
Measured gravity (mGals)1,2,3 | 4163.8218
Tide1,2
DC Shift1,2,3 | -5.89
Drift1,2
Final Reading | 4157.9318
Notes
* Optional information
1 Required for LaCoste-Romberg gravimeter data
2 Required for Worden gravimeter data
3 Required for Scintrex gravimeter data

## Meters
# | Gravity meters | Selected meter #: | 3
1 | LaCoste & Romberg
2 | Worden
3 | Scintrex